Semi-Integrated Lights

9W-120W	Semi-Integrated Solar Light

| Product Code | Wattage | Battery Details | Solar Panel |
| --- | --- | --- | --- |
| SMG PR009WSISSTLAH0 | 9W | 12.8V/6Ah LPF | 40W |
| SMG PR012WSISSTLAH0 | 12/15W | 12.8V/12Ah LPF | 50W |
| SMG PR020WSISSTLAH0 | 18/20W | 12.8V/18Ah LPF | 60W |
| SMG PR024WSISSTLAH0 | 24W | 12.8V/18Ah LPF | 80W |
| SMG PR030WSISSTLAH0 | 30W | 12.8V/24Ah LPF | 80W |
| SMG PR040WSISSTLAH0 | 36-40W | 12.8V/36Ah LPF | 100W |
| SMG PR050WSISSTLAH0 | 50W | 12.8V/42Ah LPF | 140W |
| SMG PR060WSISSTLAH0 | 60W | 12.8V/54Ah LPF | 160W |
| SMG PR080WSISSTLAH0 | 80W | 12.8V/72Ah LPF | 180W |
| SMG PR100WSISSTLAH0 | 100W | 12.8V/72Ah LPF | 200W |
| SMG PR120WSISSTLAH0 | 120W | 12.8V/96Ah LPF | 240W |

Integrated Lights

9W to 100W

| Product Code | Wattage | Battery Details | Solar Panel |
| --- | --- | --- | --- |
| SMG PR09WISSTLAH000 | 9W | 12.8V/6Ah LPF | 30W |
| SMG PR12WISSTLAH000 | 12W | 12.8V/12Ah LPF | 40W |
| SMG PR15WISSTLAH000 | 15W | 12.8V/12Ah LPF | 40W |
| SMG PR18WISSTLAH000 | 18-20W | 12.8V/18Ah LPF | 50W |
| SMG PR24WISSTLAH000 | 24W | 12.8V/18Ah LPF | 60W |
| SMG PR30WISSTLAH000 | 30W | 12.8V/24Ah LPF | 60W |
| SMG PR40WISSTLAH000 | 40W | 12.8V/36Ah LPF | 80W |
| SMG PR50WISSTLAH000 | 50W | 12.8V/42Ah LPF | 100W |
| SMG PR60WISSTLAH000 | 60W | 12.8V/54Ah LPF | 120W |
| SMG PR80WISSTLAH000 | 80W | 12.8V/72Ah LPF | 160W |
| SMG PR100WISSTLAH00 | 100W | 12.8V/96Ah LPF | 200W |

High-Mask Solar Lights

Flood Light

Street Light

| Product Code | Wattage | Battery Details | Solar Panel |
| --- | --- | --- | --- |
| SMG PR090W | 90W | 25.6V/60Ah LPF | 260W |
| SMG PR120W | 120W | 25.6V/72Ah LPF | 300W |
| SMG PR150W | 75W*2 | 25.6V/84Ah LPF | 400W |
| SMG PR180W | 90W*2 | 25.6V/120Ah LPF | 520W |
| SMG PR200W | 100W*2 | 12.8V/144Ah LPF | 580W |

Technical Specifications: Solar Light

- LED Light Lumens: 120/150lm/W.

- BIS Certified Battery- Yes.

- IEC Certified Solar MMPT Charge Controller- Yes.

- MNRE/BIS Approved Mono-crystalline Solar Panel-Yes.

- Charge Time: 5 to 7 Hours Good Sunshine.

- Backup Time: 2 Days autonomy.

- Easy to Install & Ready to use.

- LED Dispersion angle- 120°/145°.

- Light mounting height-4m to 8m above ground depending on LED Wattage.

- Humidity Range-0 to 95% (non-condensing).

- Temperature range-0 to 60 °C.

| LED Indication | Condition |
| --- | --- |
| RED: Continuous On | Battery full discharged. |
| GREEN: LED Blink | Battery in charging mode. |
| GREEN: Continuous On | Battery fully charged. |

- Solar Charger controller rating -5A/10A/15A/25A.

- LED Driver efficiency- >95% (Battery to Load).

- Battery Reverses Polarity Protection- Yes.

- Solar Panel Reverse Polarity Protection- Yes.

- Load Short Circuit Protection-Yes.

- Battery Low Load Disconnection Yes.

- Battery Full Cut-OFF- Yes.

- Protection Grade (IP)-65- Yes.

- Over Temperature Protection-75- Yes.

Protections:-

Hybrid Solar Inverter

Features

	Single-phase hybrid solar inverter.

	Support lithium battery charging and discharging management.

	Optional WI-Fl module, supports remote App monitoring.

	Highly integrated plug.

	Maximum efficiency increased 98.7%.

	Seamlessly enable backup power.

	Easy to install and maintain.

	Support lithium battery adaptive.

	5 years warranty.

Features

- Single-phase hybrid solar inverter.

- Support lithium battery charging and discharging management.

- Optional Wi-Fi module, supports remote App monitoring.

- Highly integrated plug.

- Maximum efficiency increased 98.7%.

- Seamlessly enable backup power.

- Easy to install and maintain.

- Support lithium battery adaptive.

- 5 years warranty.

Input Parameters

Voltage	: 240V

Frequency	: 50/60Hz

Efficiency	: 93%

Working Temperature	: -10° to 50°C Storage Temperature		: -15° to 60°C Communication Interface : RS232/RS485/

CAN / Dry contact

Output Parameters

AC Stabilized Voltage		: 230V AC (+/-5%) Surge Power	: 7KVA/11KVA/16KVA

Switching Time	: 10ms for PC / 20ms for Home appliances

Waveform	: Pure sine wave

Technical Parameters

| Sr.No | Model | Rated power | Max. Photo- voltaic Power | Max. PV Open Circuit Voltage | MPPT Range & Working Voltage | Max. PV charging Current | Max. AC Charging Current |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | SMG PR HF 3500- 24 | 3500VA /3500W | 3500W | 500V | 120~450V DC | 100A | 60A |
| 2 | SMG PR HF 5500- 48 | 5500VA /5500W | 5500W | 500V | 120~450V DC | 100A | 60A |
| 3 | SMG PR HF 8000- 48 Plus | 8000VA /8000W | 8000W | 500V | 120~450V DC | 120A | 120A |

# Three Phase On-Grid Inverter Datasheet

## Three Phase String Inverter

SMG 5.0K-3P | SMG 6.0K-3P | SMG 8.0K-3P | SMG 10K-3P | SMG 12K-3P

- Zero Export & VSG Application

- Low Start-Up Volatge of 80V

- Wide Output Voltage Range

- Inbuilt Wifi GPRS (Optional)

- Suited for Outdoor

- BIS Certified 10 Years Warranty

- Easy to Service

- Cloud Based Monitoring

### DC Input

| Parameter | SMG 5.0K-3P | SMG 6.0K-3P | SMG 8.0K-3P | SMG 10K-3P | SMG 12K-3P |
| --- | --- | --- | --- | --- | --- |
| Start up DC Input Voltage(V) | 140 | 250 | 250 | 250 | 250 |
| MPPT Operating Range (v) | 120-1000 | 200-1000 | 200-1000 | 200-1000 | 200-1000 |
| MAX. DC Input Power (KW) | 6.5 | 7.8 | 10.4 | 13 | 15.6 |
| MAX. DC Input Voltage (v) | 1100 | 1100 | 1100 | 1100 | 1100 |
| Max DC Input Current (A) | 20+20 | 30+30 | 30+30 | 30+30 | 30+30 |
| Max Short Circuit Current(A) | 20+20 | 30+30 | 30+30 | 30+30 | 30+30 |
| No. of MPP Tracker | 2 | 2 | 2 | 2 | 2 |
| No. of strings per MPP Tracker | 1+1 | 1+1 | 1+1 | 1+1 | 1+1 |

### AC Output

| Rated Output Power (KW) | 5 | 6 | 8 | 10 | 12 |
| --- | --- | --- | --- | --- | --- |
| Max. Active Power (kW) | 5.5 | 6.6 | 8.8 | 11 | 13.2 |
| Rated Ac Gride Output Current | 7.6/7.2 | 9.1/8.7 | 12.1/11.6 | 15.2/14.5 | 18.2/17.4 |
| Max. AC Output Current (A) | 8.3/8 | 10/9.6 | 13.3/12.7 | 16.7/15.9 | 20/19.1 |

- Rated Output Voltage/range (V): 400V AC (3P + N + E)

- Rated Grid Frequency (Hz): 50/60 (optional)

- Operating Phase: Three Phase

- Output Power Factor: 0.8 Leading to 0.8 lagging

- Total Harmonics Current Distortion (THDi): <0.3%

- DC Injection Current (mA): <0.5%

- Grid Frequency Range (Hz): 45-55

### Efficiency

- Max. Efﬁciency (Inverter): 98.30%

- Euro Efﬁciency: 97.50%

- MPPT Efﬁciency: >99%

### Protections

- DC Reverse - Polarity Protection

- AC Short Circuit Protection

- AC Output Overcurrent Protection

- Output Overvoltage Protection

- Insulation Resistance Protection

- Ground Fault Monitoring

- Anti-Islanding Protection

- Temprature Protection

- Integrated DC Switch

- Remorte Software Upload

- Remorte Change Operating Parameters

- Surge Protection (DC Type II / AC Type II)

### Mechanical & Environmental

- Size(mm): 330W × 457H × 203D

- Colour Shade: #383636 & #716C

- Weight(kg): 11

- Topology: Transformerless

- Internal Consumption: <1W (Night)

- Operating Temperature: -25° to +60° C (derating above 45°)

- Ingress Protection: IP65

- Noise Emission (Typical): ≤30dB Natural Cooling

- Max. Operating Altitude Without Derating: 4000m

- Certiﬁcations: IEC 62116, IEC 61727, IEC60068-2-1,2,14,30,27,64, IEC 61683, IEC 61000 1/2, IEC 62109-1&2

- Humidity: 0-100% (Non Condensing)

- LCD1602

- RS485/RS232/Wiﬁ/GPRS

## Three Phase String Inverter

## SMG 15K-3P | SMG 18K-3P | SMG 20K-3P | SMG 25K-3P

- Zero Export & VSG Application

- Low Start-Up Volatge of 80V

- Wide Output Voltage Range

- Inbuilt Wifi GPRS (Optional)

- Suited for Outdoor

- BIS Certified 10 Years Warranty

- Easy to Service

- Cloud Based Monitoring

### DC Input

| Parameter | SMG 15K-3P | SMG 18K-3P | SMG 20K-3P | SMG 25K-3P |
| --- | --- | --- | --- | --- |
| MAX. DC Input Power (KW) | 19.5 | 23.4 | 26 | 32.5 |
| MAX. DC Input Voltage (v) | 1100 | 1100 | 1100 | 1100 |
| Start up DC Input Voltage(V) | 250 | 250 | 250 | 250 |
| MPPT Operating Range (v) | 200-1000 | 200-1000 | 200-1000 | 200-1000 |
| Max DC Input Current (A) | 20+26 | 26+26 | 26+26 | 26+26 |
| Max Short Circuit Current(A) | 30+39 | 39+39 | 39+39 | 39+39 |
| No. of MPP Tracker | 2 | 2 | 2 | 2 |
| No. of strings per MPP Tracker | 1+2 | 2+2 | 2+2 | 2+2 |

### AC Output

| Rated Output Power (KW) | 15 | 18 | 20 | 25 |
| --- | --- | --- | --- | --- |
| Max. Active Power (kW) | 16.5 | 19.8 | 22 | 27.5 |
| Rated Ac Gride Output Current | 22.7/21.7 | 27.3/26.1 | 30.3/29 | 37.9/36.2 |
| Max. AC Output Current (A) | 25/23.9 | 30/28.7 | 33.3/21.9 | 41.7/39.8 |

- Rated Output Voltage/range (V): 400V AC (3P + N + E)

- Rated Grid Frequency (Hz): 50/60 (optional)

- Operating Phase: Three Phase

- Output Power Factor: 0.8 Leading to 0.8 lagging

- Total Harmonics Current Distortion (THDi): <0.3%

- DC Injection Current (mA): <0.5%

- Grid Frequency Range (Hz): 45-55

### Efficiency

| Parameter | Value |
| --- | --- |
| Max. Efﬁciency (Inverter) | 98.50% / 98.60% |
| Euro Efﬁciency | 97.50% / 97.83% |
| MPPT Efﬁciency | >99% |

### Protections

- DC Reverse - Polarity Protection

- AC Short Circuit Protection

- AC Output Overcurrent Protection

- Output Overvoltage Protection

- Insulation Resistance Protection

- Ground Fault Monitoring

- Anti-Islanding Protection

- Temprature Protection

- Integrated DC Switch

- Remorte Software Upload

- Remorte Change Operating Parameters

- Surge Protection (DC Type II / AC Type II)

### Mechanical & Environmental

- Weight(kg): 15 / 20

- Size(mm): 283W × 463H × 178D / 362W × 527H × 220D

- Colour

## SINGLE PHASE ON-GRID INVERTER DATASHEET

SMG 1.5K-1P | SMG 2.2K-1P | SMG 3.0K-1P | SMG 4.0K-1P | SMG 5.0K-1P | SMG 6.0K-1P

- BIS Certified – 10 Years Warranty

- Easy to Service

- Cloud Based Monitoring

- Zero Export & VSG Application

- Low Start-Up Voltage of 80V

- 20A String Current

- Suited for Outdoor

- Wide Output Voltage Range

- Inbuilt Wifi GPRS (Optional)

## Technical Data

### Input Side

| MODEL | SMG 1.5K-1P | SMG 2.2K-1P | SMG 3.0K-1P | SMG 4.0K-1P | SMG 5.0K-1P | SMG 6.0K-1P |
| --- | --- | --- | --- | --- | --- | --- |
| MAX. DC Input Power (KW) | 2 | 2.9 | 3.9 | 5.2 | 6.5 | 7.8 |
| MAX. DC Input Voltage (V) |  |  | 550 |  |  |  |
| Start up DC Input Voltage (V) |  |  | 80 |  |  |  |
| MPPT Operating Range (V) |  |  | 70-500 | 70-500 |  |  |
| MAX DC Input Current (A) |  |  | 20 | 20 |  |  |
| MAX Short Circuit Current (A) |  |  | 30 |  |  |  |
| No. Of MPP Tracker |  |  | 1 |  |  |  |
| No. strings per MPP Tracker |  | 1 |  |  | 2 | 2 |

### Output Side

| MODEL | SMG 1.5K-1P | SMG 2.2K-1P | SMG 3.0K-1P | SMG 4.0K-1P | SMG 5.0K-1P | SMG 6.0K-1P |
| --- | --- | --- | --- | --- | --- | --- |
| Rated Output Power (KW) | 1.5 | 2.2 | 3 | 4 | 5 | 6 |
| MAX. Active Power (KW) | 1.65 | 2.42 | 3.3 | 4.4 | 5.5 | 6.6 |
| Rated Output Voltage/range (V) |  |  | 230V AC (L+N+E) |  |  |  |
| Rated Grid Frequency (Hz) | 50/60 (Optional) | 50/60 (Optional) | 50/60 (Optional) | 50/60 (Optional) |  |  |
| Operating Phase |  |  | Single Phase | Single Phase |  |  |
| Rated Ac Gride Output Current | 6.5 | 9.6 | 13 | 17.4 | 22.8/21.8 | 27.3/26.1 |
| Max. AC Output Current (A) | 7.2 | 10.5 | 14.3 | 19.1 | 25/24 | 30/28.7 |
| Output Power Factor |  |  | 0.8 leading to 0.8 lagging |  |  |  |
| THDi |  |  |  |  |  |  |
| DC Injection Current (mA) |  |  |  |  |  |  |
| Grid Frequency Range (Hz) |  |  | 45-55 |  |  |  |

### Efficiency

| MODEL | SMG 1.5K-1P | SMG 2.2K-1P | SMG 3.0K-1P | SMG 4.0K-1P | SMG 5.0K-1P | SMG 6.0K-1P |
| --- | --- | --- | --- | --- | --- | --- |
| Max. Efficiency (Inverter) | 97.30% | 97.30% | 97.50% | 97.50% | 97.50% | 97.50% |
| Euro Efficiency | 97.10% | 97.10% | 97.30% | 97.30% |  | 97.00% |
| MPPT Efficiency |  |  | >99% |  |  |  |

### Protections

- DC Reverse Polarity Protection

- AC Short Circuit Protection

- AC Output Overcurrent Protection

- Output Overvoltage Protection

- Insulation Resistance Protection

- Ground Fault Monitoring

- Anti-Islanding Protection

- Temprature Protection

- Integrated DC Switch

- Remorte Software Upload

- Remorte Change Operating Parameters

- Surge Protection (DC Type II / AC Type II)

### General Data

| Parameter | Value |
| --- | --- |
| Size (mm) | 280W×310H×184D (SMG 1.5–3.0K) / 330W×323H×190D (SMG 4.0–6.0K) |
| Colour Shade | 383636 & 716C |
| Weight (kg) | 4.8 (SMG 2.2K) / 7.7 (SMG 5.0K) |
| Topology | Transformerless |
| Internal Consumption |  |
| Operating Temperature | –25℃ to +60℃ (derating above 45°) |
| Ingress Protection | IP65 |
| Noise Emission (Typical) | ≤35dB |
| Cooling Type | Natural Cooling |
| Max. Operating Altitude Without Derating | 2000m (SMG 2.2K) / 3000m (SMG 5.0K) |
| Certifications | IEC 62116, IEC 61727, IEC60068-2-1,2,14,30,27,64, IEC 61683, IEC 61000 1/2, IEC 62109-1&2 |
| Humidity | 0–100% (Non Condensing) |
| Display | LCD1602 |
| Interface | RS485 / RS232 / Wifi / GPRS |

- 25/2, R.K.Layout, 16Th Main ,5Th Cross, R.K   layout,Padmanabhanagar-Bangalore -560070,

https://www.smgpowersolution.com

smgpowersolution@zohomail.in

+91 7892903806, +91 7204523401